## Sheet1
ID | Question | Reply | Condition
1 | Is the total number of detectors, manual pull stations, monitor module, control module, line isolators are more than 500 and less than 1000 | Yes | AND Condition
2 | Is the Boq / Specs Call for Spealker or Amplifiers | No
3 | Is the Boq / Specs Call for Telephone Jacks / Fire Fighters Telephone | No
4 | Is the product Line Selected as Mx | If Yes -- Please select Model 4010-9523 and 4010-6311 qty 2 | AND Condition
5 | Is the specs and / or boq calling for convention horn flashers
6 | Is the product Line Selected as IDNET | If Yes -- Please select Model 4010-9521 and 4010-9929 qty 2 | AND Condition
7 | Is the specs and / or boq calling for convention horn flashers
8 | Is the product Line Selected as IDNET | If Yes -- Please select Model 4010-9721 and 4010-9929 qty 2 | AND Condition
9 | Is the specs and / or boq calling for Addressable horn flashers
Child Cards
10 | Does Specs and / or Boq calls for printer connection | If Yes -- Please select model 4010-9918
11 | Does Specs and / or Boq Calls for Wired or Copper networking between these panels | If Yes -- Please select model 4010-9922 qty 1 and 4010-9818 qty 2
12 | Does Specs and / or Boq Calls for Fiber networking between these panels | If Yes -- Please select model 4010-9922 qty 1 , 4010-6301 qty 1 and 4010-6302 qty 1
13 | Does Specs and / or Boq Calls for Repeator Panel or LCD Annumciator | If Yes -- Please select model 4606-9102 and 2975-9206
14 | Does Specs and / or Boq Calls for Mimic | If yes -- Please select 4100-7402 qty 1 , 4100-7403 qty 1 and 4100-7404 qty 1
15 | Does Specs and / or Boq Calls for IP networking between these panels | If Yes -- Please select model 4010-2504
16 | Does Boq and / or specs call for BMS Integaration | If Yes -- Please select model 4010-9918 qty 1 and 4010-9915 qty 1