## Sheet1
Designation/Model No (IDNet) | Description | MX model No/Description
4098-9714 and 4098-9792 | Photo electric smoke sensor | 4098-5266 and 4098-5260
4098-9714 and 4098-9792 | Addressable Smoke Detector | 4098-5266 and 4098-5260
4098-9714 and 4098-9792 | Smoke detector | 4098-5266 and 4098-5260
4098-9714 and 4098-9792 | Addressable smoke detector (Ceiling mounted) | 4098-5266 and 4098-5260
4098-9714 and 4098-9792 | SSD PHOTO SENSOR | 4098-5266 and 4098-5260
4098-9714 and 4098-9792 | True Alarm Photoelectric Smoke Detector c/w, Addressable standard Base | 4098-5266 and 4098-5260
4098-9714 and 4098-9794 | True Alarm Photoelectric Smoke Detector c/w, Addressable Sounder Base | 4098-5266 and 4098-5217
4098-9714 and 4098-9792 | SMOKE DETECTOR WALL MOUNTED | 4098-5266 and 4098-5260
4098-9714 and 4098-9792 | True alarm photoelectric smoke detector | 4098-5266 and 4098-5260
4098-9714 and 4098-9793 | Smoke detector with isolator base | 4098-5256 and 4098-5208 | 4098-5256 with 4098-5208
4098-9714 and 4098-9789 and 2098-9808 | Smoke detector with remote LED | 4098-5266 and 4098-5260 and 2098-9808
4098-9714 and 4098-9792 | OPTICAL SMOKE SENSOR | 4098-5266 and 4098-5260
4098-9714 and 4098-9792 | Addressable intelligent photo electric smoke detector | 4098-5266 and 4098-5260
4098-9714 and 4098-9792 | Intelligent addressable optical smoke detector | 4098-5266 and 4098-5260
4098-9714 and 4098-9792 | Analogue/addressable smoke detector optical type c/w base (Celling mounted) | 4098-5266 and 4098-5260
4098-9714 and 4098-9794 | S-Analog/Addressable Smoke Detector Along With Sounder | 4098-5266 and 4098-5217
4098-9714 and 4098-9792 | Analogue/addressable smoke detector optical type c/w base and semi recess kit. | 4098-5266 and 4098-5260
4098-9714 and 4098-9792 | Photoelectric smoke detectors[Wall Mounted]; | 4098-5266 and 4098-5260
4098-9714 and 4098-9792 | Addressable photo electric smoke detector ceiling mounted | 4098-5266 and 4098-5260
4098-9714 and 4098-9794 | Smoke detector with sounder base | 4098-5266 and 4098-5217
4098-9714 and 4098-9794 | Addressable intelligent photo electric smoke detector with sounder base | 4098-5266 and 4098-5217
4098-9714 and 4098-9792 | Smoke detector - photoelectric, addressable type | 4098-5266 and 4098-5260
4098-9714 and 4098-9792 | Addressable Smoke detector, Ionisation type | 4098-5266 and 4098-5260
4098-9714 and 4098-9794 | Photoelectric smoke detectors[Sounder Base]; | 4098-5266 and 4098-5217
4098-9714 and 4098-9792 | Addressable Photo-Electric Smoke Detector with Base | 4098-5266 and 4098-5260
4098-9714 and 4098-9792 | Ceiling mounted smoke detector | 4098-5266 and 4098-5260
4098-9714 and 4098-9792 | SMOKE ADDRESSABLE DETECTOR CEILING MOUNTED WITH BASE | 4098-5266 and 4098-5260
4098-9714 and 4098-9792 | Addressable intelligent photoelctric smoke detector with base | 4098-5266 and 4098-5260
4098-9714 and 4098-9792 | Addressable intelligent photoelctric smoke detector wall mounted installed in Shaft | 4098-5266 and 4098-5260
4098-9714 and 4098-9794 | Addressable intelligent smoke detector with integral buzzer sounder base | 4098-5266 and 4098-5217
| True alarm photoelectric smoke detector withadressable base with built in isolator / ceiling mounted. | 4098-5266 and 4098-5260
| True alarm heat detector with adreessable base with built in isolator/ on ceiling (fix & rate of rise) | 4098-5267 and 4098-5260
| True alarm combined photoelectric - multi sensor /detector , smoke detector & heat detector(fix temp.) with addressable base with built-in isolator ceiling mounted / on surface mounted. | 4098-5265 and 4098-5260
4098-9733 and 4098-9792 | Heat Detector | 4098-5267 and 4098-5260
4098-9733 and 4098-9792 | Heat sensor | 4098-5267 and 4098-5260
4098-9733 and 4098-9792 | Addressable Heat Detector | 4098-5267 and 4098-5260
4098-9733 and 4098-9792 | True Alarm Heat Detector c/w Addressable base(UL Listed, FM Approved.) | 4098-5267 and 4098-5260
4098-9733 and 4098-9770 | True Alarm Heat Detector c/w, Addressable CO Sensor Base (UL Listed, FM Approved.) | 4098-5268 and 4098-5260
4098-9733 and 4098-9792 | HEAT DETECTOR (FIXED TEMPERATURE) CEILING MOUNTED | 4098-5267 and 4098-5260
4098-9733 and 4098-9792 | Heat Detector Ceiling Mounted | 4098-5267 and 4098-5260
4098-9733 and 4098-9792 | True alarm heat detector | 4098-5267 and 4098-5260
4098-9733 and 4098-9792 | Intelligent addressable Heat detector | 4098-5267 and 4098-5260
4098-9733 and 4098-9792 | HEAT SENSOR MAINS POWERED WITH 9V BATTERY BACK UP] | 4098-5267 and 4098-5260
4098-9733 and 4098-9792 | Addressable intelligent fixed temperature heat detector | 4098-5267 and 4098-5260
4098-9733 and 4098-9792 | Addressable intelligent fixed temperature heat detector at 90° | 4098-5267 and 4098-5260
4098-9733 and 4098-9792 | Intelligent addressable Heat detector | 4098-5267 and 4098-5260
4098-9733 and 4098-9792 | Addressable intelligent heat detector fixed temperature at 90°C with base | 4098-5267 and 4098-5260
4098-9733 and 4098-9792 | Heat detector - fixed temperature, addressable type | 4098-5267 and 4098-5260
4098-9733 and 4098-9792 | Heat Detector with Base | 4098-5267 and 4098-5260
4098-9733 and 4098-9792 | HEAT ADDRESSABLE DETECTOR FIXED TEMPERATURE CEILING MOUNTED WITH BASE | 4098-5267 and 4098-5260
4098-9733 and 4098-9792 | Addressable intelligent heat detector with base | 4098-5267 and 4098-5260
4098-9754 and 4098-9792 | Addressable Multi Detector | 4098-5265 and 4098-5260
4098-9754 and 4098-9792 | Multi-sensor detector | 4098-5265 and 4098-5260
4098-9754 and 4098-9792 | True Alarm Multi sensor (Smoke & Heat) wall mounted c/w, Addressable Base, (UL Listed, FM Approved.) | 4098-5265 and 4098-5260
4098-9754 and 4098-9792 | COMBINED DOUBLE OPTICAL SMOKE & HEAT DETECTOR CEILING MOUNTED | 4098-5265 and 4098-5260
4098-9754 and 4098-9792 | COMBINED DOUBLE OPTICAL SMOKE & HEAT DETECTOR WALL MOUNTED | 4098-5265 and 4098-5260
4098-9754 and 4098-9792 | True alarm combined photoelectric multi sensor /detector , smoke detector & heat detector(fix temp.) with addressable base | 4098-5265 and 4098-5260
4098-9754 and 4098-9792 | Addressable Combined Photo Heat Detector | 4098-5265 and 4098-5260
4098-9754 and 4098-9792 | Addressable combine detector | 4098-5265 and 4098-5260
4098-9754 and 4098-9792 | Intelligent multi sensor | 4098-5265 and 4098-5260
4098-9754 and 4098-9792 | MULTI SENSOR | 4098-5265 and 4098-5260
4098-9754 and 4098-9792 | Addressable combined double photoelectric smoke and heat detector | 4098-5265 and 4098-5260
4098-9754 and 4098-9792 | Smoke and Heat (MS) Detector | 4098-5265 and 4098-5260
4098-9754 and 4098-9792 | Addressable combined photo heat detector complete with base(Celling mounted) | 4098-5265 and 4098-5260
4098-9754 and 4098-9792 | Analogue/addressable combined optical/heat detector type c/w base and semi recess kit | 4098-5265 and 4098-5260
4098-9754 and 4098-9771 | Multi sensor detector with CO and sounder base | 4098-5268 and 4098-5217
4098-9754 and 4098-9792 | Multisensor smoke/heat detector - photoelectric, fixed temperature, addressable type | 4098-5265 and 4098-5260
4098-9754 and 4098-9792 | Addressable combined double photoelectric smoke and heat detector ceiling mounted | 4098-5265 and 4098-5260
4098-9754 and 4098-9792 | Fire Alarm Devices Smoke And Heat Detector | 4098-5265 and 4098-5260
4098-9754 and 4098-9792 | Multi-Criteria Detector | 4098-5265 and 4098-5260
4098-9754 and 4098-9792 | Addressable combine detector (multisensor) | 4098-5265 and 4098-5260
4098-9754 and 4098-9792 | Analogue addressable multi function detector (smoke and heat) | 4098-5265 and 4098-5260
4098-9754 and 4098-9792 | Addressable Multi Detector with Base | 4098-5265 and 4098-5260
4098-9754 and 4098-9792 | COMBINED DOUBLE OPTICAL SMOKE AND HEAT DETECTOR, MULTI DETECTOR ADDRESSABLE WITH BASE | 4098-5265 and 4098-5260
4098-9754 and 4098-9792 | Addressable intelligent multi-sensor detector with base | 4098-5265 and 4098-5260
4098-9754 and 4098-9792 | Addressable intelligent multi-sensor detector | 4098-5265 and 4098-5260
4099-9004 | Manual Pull Station | 4099-5214
4099-9005 | Double action addressable pull station | 4099-5215
4099-9004 | Manual Call Point Wall Mounted | 4099-5208
4099-9004 | addressable manual pull station | 4099-5214
4099-9004 | Analogue/addressable manual pull station | 4099-5214
4099-9004 | Intelligent addressable manual call point | 4099-5214
4099-9005 | Addressable Manual pull station break glass Station (Break and pull type) | 4099-5215
4099-9004 | Intelligent addressable manual call point | 4099-5208
4099-9004 | Manual Pull Station | 4099-5214
4099-9005 | Manual pull station - double-action, addressable type | 4099-5215
4099-9004 | Manual call point (MCP) | 4099-5208
4099-9004 | MANUAL CALL POINT ADDRESSABLE | 4099-5208
4099-9004 | Addressable manual call point | 4099-5208
2099-9139 and 2975-9211 (wp box) and 4090-9001(MM) | Addressable manual call point,weatherproof | 2099-9139 and 2975-9211 (wp box) and 4090-5201(MM)
2099-9139 and 2975-9211 (wp box) and 4090-9001(MM) | Manual Pull Station weatherproof | 2099-9139 and 2975-9211 (wp box) and 4090-5201(MM)
4099-9005 | Double Action Addressable Pull Station | 4099-5215
2099-9139 and 2975-9211 (wp box) and 4090-9001(MM) | MANUAL CALL POINT ADDRESSABLE WP | 2099-9139 and 2975-9211 (wp box) and 4090-5201(MM)
4099-9004 | Addressable intelligent manual Call Point | 4099-5208
2099-9139 and 2975-9211 (wp box) and 4090-9001(MM) | Addressable Manual Pull Station Double Action (Pull Type) w/, Weather proof back box, Addressable Monitor Module. | 2099-9139 and 2975-9211 (wp box) and 4090-5201(MM)
2099-9139 and 2975-9211 (wp box) and 4090-9001(MM) | ADDRESSABLE MANUAL CALL POINT WEATHERPROOF | 2099-9139 and 2975-9211 (wp box) and 4090-5201(MM)
2099-9139 and 2975-9211 (wp box) and 4090-9001(MM) | Manual Call Point Wall Mounted WP | 2099-9139 and 2975-9211 (wp box) and 4090-5201(MM)
2099-9139 and 2975-9211 (wp box) and 4090-9001(MM) | Manual Call Point, Weather Proof | 2099-9139 and 2975-9211 (wp box) and 4090-5201(MM)
2099-9139 and 2975-9211 (wp box) and 4090-9001(MM) | Addressable Fire alarm manual call point, Weatherproof | 2099-9139 and 2975-9211 (wp box) and 4090-5201(MM)
2099-9139 and 2975-9211 (wp box) and 4090-9001(MM) | Weatherproof manual pull station | 2099-9139 and 2975-9211 (wp box) and 4090-5201(MM)
2099-9139 and 2975-9211 (wp box) and 4090-9001(MM) | Addressable intelligent manual Call Point, weather proof type with WP back box and interface module | 2099-9139 and 2975-9211 (wp box) and 4090-5201(MM)
2099-9139 and 2975-9211 (wp box) and 4090-9001(MM) | Manual call point (MCP) - weather proof | 2099-9139 and 2975-9211 (wp box) and 4090-5201(MM)
2099-9139 and 2975-9211 (wp box) and 4090-9001(MM) | Weatherproof, manual station, break glass type; [with weatherproof Protective Shield]; | 2099-9139 and 2975-9211 (wp box) and 4090-5201(MM)
2099-9139 and 2975-9211 (wp box) and 4090-9001(MM) | Manual call point W/P | 2099-9139 and 2975-9211 (wp box) and 4090-5201(MM)
4098-9734 and 4098-9792 | Addressable rate of rise heat Detector | 4098-5267 and 4098-5260
4098-9734 and 4098-9792 | Heat Sensor (Rate Of Rise Type) | 4098-5267 and 4098-5260
4098-9734 and 4098-9792 | Heat detectors, Rate of Rise type; ; | 4098-5267 and 4098-5260
4098-9734 and 4098-9792 | HEAT DETECTOR ADDRESSABLE RISE OF RATE CEILING MOUNTED WITH BASE | 4098-5267 and 4098-5260
6010-300 and 1010-000 | Beam detector (Receiver) and Beam detector (Transmitter) | 6010-300 and 1010-000
6010-300 | ANALOGUE ADDRESSABLE BEAM DETECTOR (TRANSMITTER) | 6010-300
1010-000 | ANALOGUE ADDRESSABLE BEAM DETECTOR (RECEIVER) | 1010-000
6010-300 and 1010-000 | Addressable beam detector ( transmitter & receiver) | 6010-300 and 1010-000
6010-300 and 1010-000 | Optical Beam smoke detector - Transmitter & Receiver | 6010-300 and 1010-000
6010-300 | Addressable Beam Detector Transmitter | 6010-300
1010-000 | Reflective Beam Detector | 1010-000
6010-300 and 1010-000 | Beam detector transmitter and receiver - photoelectric, addressable type | 6010-300 and 1010-000
6010-300 and 1010-000 | Projected beam smoke detector; | 6010-300 and 1010-000
6010-300 and 1010-000 | Beam Detector | 6010-300 and 1010-000
6010-300 | BEAM DETECTOR - TRANSMITTER | 6010-300
1010-000 | BEAM DETECTOR - RECEIVER | 1010-000
4098-9755 with 4098-9854 sampling tube | Duct Detector | 4098-5214 with 4098-5252
4098-9755 with 4098-9854 sampling tube | addressable duct smoke detectors | 4098-5214 with 4098-5252
4098-9755 with 4098-9854 sampling tube | DUCT SENSOR HOUSING | 4098-5214 with 4098-5252
4098-9755 with 4098-9854 sampling tube | Analogue/Addressable Duct Mounted Smoke Det.C/W Base, Housing And Sampling Tube | 4098-5214 with 4098-5252 and STS-2.5 sampling tube
4098-9755 with 4098-9854 sampling tube | Intelligent addressable Air duct detector | 4098-5214 with 4098-5252
4098-9755 with 4098-9854 sampling tube | Duct Smoke Detector | 4098-5214 with 4098-5252
4098-9755 with 4098-9854 sampling tube | Smoke detector duct mounted | 4098-5214 with 4098-5252
4098-9755 with 4098-9854 sampling tube | Duct mounted smoke detector | 4098-5214 with 4098-5252
4098-9755 with 4098-9854 sampling tube | Addressable Duct Detector | 4098-5214 with 4098-5252
4098-9755 with 4098-9854 sampling tube | Addressable intelligent duct smoke detector with Sampling Tube | 4098-5214 with 4098-5252 and STS-2.5 sampling tube
4090-9001 | INTERFACE UNIT | 4090-5201
4090-9001 | IFU- Monitor Module | 4090-5201
4090-9001 | Input Module | 4090-5201
4090-9001 | Monitoring Module | 4090-5201
4090-9001 | Addressable Monitor Module (UL, ULC Listed, FM Approved) / single input module | 4090-5201
4090-9001 | Monitoring Interface unit | 4090-5201
4090-9001 | Fire alarm interface unit (for tenant use) | 4090-5201
4090-9001 | Addressable Fire alarm interface unit | 4090-5201
4090-9001 | Monitor Module | 4090-5201
4090-9001 | Addressable fire alarm interface unit | 4090-5201 | 5258
4090-9001 | Addressable interface status input module | 4090-5201
4090-9001 | Interface Unit (Mm/Cm/Rm As Required) Suitable Enclosure | 4090-5201
4090-9001 | Addressable intelligent monitor module for interface with Fire Fighting (Water Flow) switch | 4090-5201
4090-9001 | Monitor modules (input modules); | 4090-5201
4090-9001 | Fire Alarm Devices Interface Module | 4090-5201
4090-9001 | Addressable intelligent monitor module for interface with Fire Fighting (Water Tamper) switch | 4090-5201
4090-9001 | Addressable interface unit (IFU) | 4090-5201
4090-9001 | Fire alarm monitor module, addressable type | 4090-5201
4090-9001 | Addressable intelligent monitor modules for interface with Diesel Generator | 4090-5201
4090-9001 | Addressable intelligent monitor module for interface with Clean Agent special system | 4090-5201
4090-9001 | Addressable intelligent monitor modules | 4090-5201
4090-9002 | Control Module | 4090-5203
4090-9002 | Output Module | 4090-5203 | 5259
4090-9010 | Control module (8A,220V) RELAY IAM
4090-9002 | Addressable Control Module 24VDC, 2A (UL, ULC Listed, FM Approved.) | 4090-5203
4090-9002 | Control Interface unit | 4090-5203
4090-9002 | Addressable control module unit | 4090-5203
4090-9002 | Adressable F Interface control module Relay for Elevator | 4090-5203
4090-9002 | Door release and the addressable interface control module for door release | 4090-5203
4090-9002 | Addressable input (control module) | 4090-5203
4090-9002 | Addressable fire alarm control module unit | 4090-5203
4090-9002 | Fire alarm output module, addressable type | 4090-5203
4090-9010 | Control Module for Dampers 220V
4090-9002 | Addressable intelligent control modules for Shutter Door | 4090-5203
4090-9002 | Addressable intelligent Control modules | 4090-5203
4090-9116 | LINE ISOLATOR | 4090-5206
4090-9116 | Loop Isolator Module. (UL Listed, FM Approved.) | 4090-5206
4090-9116 | Isolator | 4090-5206
4090-9116 | True alarm fault isolator | 4090-5206
4090-9116 | Short Circuit Isolator | 4090-5206
4090-9116 | Addressable fault isolator unit | 4090-5206
4090-9116 | SCI - Short Circuit Isolator | 4090-5206
4090-9116 | Fault Isolator Module | 4090-5206
4090-9116 | Isolator Module | 4090-5206
4090-9116 | Fire alarm isolator module, addressable type | 4090-5206
4090-9116 | Fault isolator unit | 4090-5206
4090-9116 | Fault isolator modules (fault isolators); | 4090-5206
4098-9714 and 4098-9789 and 2098-9808 | Smoke Detector with remote led - AFc | 4098-5266 and 4098-5260 and 2098-9808
2098-9808 | REMOTE ALARM INDICATOR | 2098-9808
2098-9808 | Remote Indicator (Suggested Wall monuted | 2098-9808
2098-9808 | Remote Indicator for Void Smoke Detector Ceiling Mounted | 2098-9808
4098-9714 and 4098-9789 and 2098-9808 | Addressable intelligent photo electric smoke detector located above false ceiling with remote led | 4098-5266 and 4098-5260 and 2098-9808
4098-9714 and 4098-9789 | Addressable intelligent photo electric smoke detector under raised floor Smoke Detector in Ceiling Void | 4098-5266 and 4098-5260
4098-9754 and 4098-9789 | Addressable combined double photoelectric smoke and heat detector located above false ceiling | 4098-5265 and 4098-5260
4098-9714 and 4098-9789 and 2098-9808 | Intelligent addressable smoke detector with remote indictator | 4098-5266 and 4098-5260 and 2098-9808
4098-9755 with 4098-9854 sampling tube and 2098-9808 | Air duct smoke detector - photoelectric with remote LED indicator, addressable type | 4098-5214 with 4098-5252 and 2098-9808
4098-9755 with 4098-9854 sampling tube and 2098-9808 | Addressable intelligent duct smoke detector with Remote Indicator. | 4098-5214 with 4098-5252 and 2098-9808
4098-9714 and 4098-9789 | Addressable optical smoke detector above false ceiling | 4098-5266 and 4098-5260
4098-9714 and 4098-9789 | Addressable photo electric smoke detector in ceiling void | 4098-5266 and 4098-5260
2098-9808 | Response indicator | 2098-9808
4098-9714 and 4098-9789 and 2098-9808 | Addressable intelligent photoelectric smoke detector located above false ceiling with remote LED | 4098-5266 and 4098-5260 and 2098-9808
2098-9808 | Remote indicator unit | 2098-9808
2098-9808 | Remote Indicator for Ceiling Void smoke Detector | 2098-9808
4098-9714 and 4098-9789 and 2098-9808 | Void Smoke Detector with Remote Indicator. | 4098-5266 and 4098-5260 and 2098-9808
4098-9714 and 4098-9789 | SMOKE DETECTOR LOCATED UPPER FALSE CEILING ADDRESSABLE | 4098-5266 and 4098-5260
4098-9714 and 4098-9789 and 2098-9808 | Addressable intelligent photoelctric detector above false ceiling with remotely LED indicator | 4098-5266 and 4098-5260 and 2098-9808
4098-9714 and 4098-9789 and 2098-9808 | Addressable intelligent smoke detector under raised floor with Remote Indicator. | 4098-5266 and 4098-5260 and 2098-9808
4098-9733 and 4098-9789 | Addressable intelligent fixed temperature heat detector above false ceiling | 4098-5267 and 4098-5260
4098-9714 and 4098-9789 and 2098-9808 | True Alarm Photoelectric Smoke Detector (above false ceiling) w/ LIFEALARM SENSOR BASE and Remote LED Alarm Indicator | 4098-5266 and 4098-5260 and 2098-9808
601F and 4090-9101 | Conv flame detector with base and 4090-9101 ZAM Module
4603-9101 | LCD ANNUNCIATOR | 4603-9101
4603-9101 | Fire Alarm repeater panel | 4603-9101
4603-9101 | FARP | 4603-9101
4603-9101 | REPEATER PANEL | 4603-9101
4603-9101 | Addressable fire alarm repeater panel | 4603-9101
4603-9101 | Fire Alarm Repeater Panel (FARP) | 4603-9101
4603-9101 | Addressable fire alarm repeater panel | 4603-9101
4603-9101 | FARP (Fire Alarm Repeaterl Panel) ; | 4603-9101
VESDA VEP-A00-P | VESDA control panel with monitor module | VESDA VEP-A00-P
16mm air sampling pipe
VESDA VEP-A00-P | Air Aspiration System(Vesda) | VESDA VEP-A00-P
Air-sampling smoke detectors (aspirating smoke detectors);
VESDA VEP-A00-P | Design and Supply VESDA System | VESDA VEP-A00-P
4007-9201 | Simplex 4007ES, with a 3 A Class B IDNAC SLC, With 1 Loop (support up to 100 addressable point), Network interface card (wired), two SLA Batteries, All in wall mounted cabinet.
4100ES PANELS
Analogue Addressable Main Fire alarm control panel including battery cabinet, MFACP
FACP
FACP; Fire alarm control panel, with Voice Evacuation Panel , Paging MIC, Loop Cards, PSU and Battery Backup with HOA buttons for Smoke Management for Z0ne wise
ANALOGUE ADDRESSABLE MASTER FIRE ALARM CONTROL PANEL (N-LOOP) WITH BACKUP BATTERY
FACP
fire alarm control panel with voice evacuation
Addressable fire alarm control panel
Addressable intelligent main fire alarm control panel , ref. (MFACP) with (5) loops + (1) spare loop with fire fighting telephone panel connected to voice over IP auto dialer and battery back-up (min 24 hrs standby operation &3hours of continuous alarm), printer & GUI workstation, AC/DC battery charger 230V, 60HZ
Fire alarm control panel with complete accessories
Fire Alarm Control Panel
FACP
Fire Alarm Control Panel including with Firemen telephone system (6 Loops)
Addressable intelligent fire alarm control panel, ref. FACP
Fire alarm control panel (FACP), microprocessor based, addressable type, 10 loops
Fire Alarm control panel with printer
FACP
Fire Alarm Node
MFACP (Main Fire Alarm Control Panel) ;
FACP (Fire Alarm Control Panel) ;
Fire Alarm Control Panel
Addressable 8-Loop Main Fire Alarm Control Panel with BMS software integration and Auto-Dialler
Addressable intelligent fire alarm control panel , ref. FACP (1 loop + 1 spare) with AC/DC battery charger ,AC power supply unit, back up battery (min 24 hrs of stand by operation & 0.5 hrs of continuous alarm) , auto dialer , interface units for connection to other systems as per drawing
1 loop analogue addressable fire alarm control panel The fire alarm control panel shall included built-in backup battery automatic charger, connection to civil defense, auto dialer, connection to remote terminal unit
Fire Alarm control panel with battery back up, fire man telephone switch and network interface with lift control panel, lpg leak detection system, fire fighting system, central battery system, fire man smoke management system for smoke purging fan,fire man switch for lv system,security system, bms,civil defense panel,voice evacuation system.
Supplying, Supervision of installation, connecting, programming, testing and commissioning main fire alarm control panel (M.F.A.C.P) complete with evacuation and paging panel, manual control switches with status leds (Smoke Control Panel), addressable loop cards, power amplifiers, relays, fire man microphone, automatic voice dialer, power supplies, back up battery and battery charger, master fire fighter telephone unit, software interface with BMS system, Integration with other systems, interconnection with satellite fire alarm control panels, fire resistant cabling, conduits, conduit fittings and all necessary accessories & ancillary works and materials required for complete installation and operation as specified and as indicated on the drawings.
Fire Alarm Control Panel Addressable type 4-loop with: -numeric keypads -point status control keys -lcd readout with lcd navigation keys -programmable function switches (such as: manual evacuation, elevators recall, ground fault latch) -system status indicator leds -alarm silence, system reset -vesda interface unit (high level) -power supply
Satellite Fire Alarm Control Panel (FACP-1) (With detection loops, speaker circuits, strobe circuits as per drawings and battery backup as per specifications)
4190-8603/8606
Fire alarm workstation complete, as per drawings and specifications
TSW Graphics with Network card, Dell PC
PC with graphic master software and printer
Central PC station complete with monitor & printer to display graphic presentation of the system
COLOR GRAPHIC STATION & PRINTERS
Fire Alarm Graphic software,workstation and printer
Note : "If the Bill of Quantities (BOQ) or specifications mention an SSD-style [detector] with a DIP switch and a built-in isolator, [it refers to] the 4098-5288 series detector."